GENERAL EXPLANATION ABOUT THE WORK

This work covers the turnkey execution of all construction works, within the scope of the Exhibition and Foyer Area to be established in the Kırklareli Chamber of Commerce and Industry Service Building located within the borders of Kırklareli Province, in accordance with the approved architectural, structural, electrical and mechanical projects, the provisions of the technical specifications, and the work items defined in the bill of quantities.

SCOPE OF THE WORK

Within the scope of the work, the following construction activities shall be carried out in order to reorganise the existing area for exhibition and foyer use:

- Construction of partition walls for the formation of the meeting hall, kitchen, WC, and other spaces indicated in the project

- Installation of gypsum board wall and ceiling systems on the steel construction substructure,

- Execution of suspended ceiling and other ceiling works,

- Execution of floor and wall coverings (ceramics, etc.),

- Manufacture and installation of doors made of MDF laminate and similar materials (single-leaf, double-leaf, and acoustic doors), as well as skirting applications,

- Supply and installation of aluminium joinery systems and thermally insulated glazing applications,

- Construction of the roof/upper covering system in accordance with the project, ensuring water and thermal insulation,

- Manufacture and installation of fixed furniture and furnishing works for the kitchen, exhibition and storage areas (cabinets, counters, etc.),

- Complete execution of electrical installation works (lighting, sockets, data, UPS, weak current systems, panels, etc.),

- Execution of mechanical installation works (clean water, wastewater, sanitary fixtures, and related connections),

- Installation of sound, lighting, and the required technical infrastructure systems.

ROOF AND FACADE SYSTEMS

Roof/upper covering works shall be carried out in accordance with the sections and details indicated in the architectural project. Within this scope, the structural system, cladding, and insulation layers shall be formed to ensure the protection of the building against external effects.

The aluminium joinery systems to be applied on the facades and in the required interior sections shall be manufactured and installed together with double-glazed systems providing thermal and acoustic insulation. All joinery and glazing applications shall comply with the criteria of watertightness, durability, and aesthetics.

IMPLEMENTATION PRINCIPLES

- All works shall be carried out in accordance with the approved designs, technical specifications, and the applicable legislation

- All materials to be used shall be new, compliant with TSE and ISO standards, and supported by the required quality certificates.

- Electrical and mechanical systems shall be tested in accordance with the relevant regulations and delivered in full working order.

MATERIAL AND WORKMANSHIP REQUIREMENTS

- Wall, floor, and ceiling works shall be executed in a manner suitable for their intended use and in compliance with durability and aesthetic criteria.

- Doors, windows, and joinery systems shall be of a quality sufficient to ensure thermal and acoustic insulation

- Roof works shall be fully completed in a manner ensuring water and thermal insulation.

- All installation systems shall be delivered in safe and fully operational condition.

İŞİN TANIMI HAKKINDA GENEL AÇIKLAMA

Bu iş, Kırklareli ili sınırları içerisinde yer alan Kırklareli Ticaret ve Sanayi Odası Hizmet Binası’nda oluşturulacak Sergi ve Fuaye Alanı kapsamında; onaylı mimari, statik, elektrik ve mekanik projelere, teknik şartname hükümlerine ve birim fiyat cetvelinde tanımlanan imalat kalemlerine uygun olarak tüm yapım işlerinin anahtar teslim şekilde gerçekleştirilmesini kapsar.

İŞİN KAPSAMI

İş kapsamında, mevcut alanın sergi ve fuaye kullanımına uygun şekilde yeniden düzenlenmesi amacıyla aşağıdaki imalatlar gerçekleştirilecektir:

- Projede belirtilen toplantı salonu, mutfak, WC ve diğer mahallerin oluşturulmasına yönelik bölücü duvar imalatları,

- Çelik konstrüksiyon altyapı üzerine alçıpan duvar ve tavan sistemlerinin kurulması,

- Asma tavan ve diğer tavan imalatlarının gerçekleştirilmesi,

- Zemin ve duvar kaplamalarının (seramik vb.) yapılması,

- MDF lam ve benzeri malzemelerden kapı imalatları (tek kanat, çift kanat, akustik kapılar) ile süpürgelik uygulamaları,

- Alüminyum doğrama sistemleri ve ısı yalıtımlı cam uygulamalarının temini ve montajı,

- Çatı/üst örtü sisteminin projeye uygun şekilde oluşturulması, su ve ısı yalıtımının sağlanması,

- Mutfak, sergi ve depolama alanlarına yönelik sabit mobilya ve tefriş imalatlarının yapılması (dolaplar, tezgâhlar vb.),

- Elektrik tesisatı imalatlarının (aydınlatma, priz, data, UPS, zayıf akım sistemleri, pano vb.) eksiksiz şekilde yapılması,

- Mekanik tesisat imalatlarının (temiz su, pis su, armatürler ve ilgili bağlantılar) gerçekleştirilmesi,

- Ses, aydınlatma ve gerekli teknik altyapı sistemlerinin kurulması.

ÇATI VE CEPHE SİSTEMLERİ

Mimari projede belirtilen kesit ve detaylara uygun olarak çatı/üst örtü imalatları gerçekleştirilecektir. Bu kapsamda taşıyıcı sistem, kaplama ve yalıtım katmanları oluşturularak yapının dış etkenlere karşı korunması sağlanacaktır.

Cephelerde ve gerekli iç bölümlerde uygulanacak alüminyum doğrama sistemleri, ısı ve ses yalıtımı sağlayacak çift camlı sistemler ile birlikte imal ve monte edilecektir. Tüm doğrama ve cam uygulamaları sızdırmazlık, dayanım ve estetik kriterlere uygun olacaktır.

UYGULAMA ESASLARI

- Tüm imalatlar, onaylı projeler, teknik şartnameler ve ilgili mevzuata uygun olarak gerçekleştirilecektir.

- Kullanılacak tüm malzemeler yeni, TSE ve ISO standartlarına uygun ve gerekli kalite belgelerine sahip olacaktır.

- Elektrik ve mekanik sistemler ilgili yönetmeliklere uygun olarak test edilerek çalışır vaziyette teslim edilecektir.

MALZEME VE İMALAT ŞARTLARI

- Duvar, zemin ve tavan imalatları kullanım amacına uygun, dayanıklı ve estetik kriterleri sağlayacak şekilde yapılacaktır.

- Kapı, pencere ve doğrama sistemleri ısı ve ses yalıtımını sağlayacak nitelikte olacaktır.

- Çatı imalatları su ve ısı yalıtımı sağlayacak şekilde eksiksiz olarak tamamlanacaktır.

- Tüm tesisat sistemleri çalışır ve güvenli şekilde teslim edilecektir.