VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The breakdown of the lump-sum price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This breakdown of the lump-sum price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

The breakdown must coincide with the payment-definition chosen in Article 49 of the special conditions:

2.	The item description given in the breakdown of the lump-sum price in no way limits the contractor’s obligations under the contract to provide all the works described elsewhere.

3.	The prices of the breakdown of the lump-sum price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the contract. Unless separate items are provided in the breakdown of the lump-sum price, prices include all costs involved in the various items of the breakdown.

4.	The lump–sum price and the prices of the breakdown of the lump-sum price are all-inclusive and include any non-exonerated tax or fiscal duty.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Nr | Type of Production | Unit | Amount | Unit Price | Total price EUR |
| --- | --- | --- | --- | --- | --- |
| Flooring |  |  |  |  |  |
| 1 | Delivery of light grey matte porcelain, concrete textured rectified 60 X 120 cm tiles | m2 | 450 |  |  |
| 2 | Delivery of matte porcelain 60 X 60 cm tiles | m2 | 15 |  |  |
| 3 | Delivery of glazed granite, matt 60 X 120 cm tiles | m2 | 70 |  |  |
| 4 | Ceramic adhesive | kg | 6000 |  |  |
| 5 | Ceramic grouting | kg | 600 |  |  |
| 6 | Labor costs | m2 | 535 |  |  |
| Drywall Construction |  |  |  |  |  |
| 1 | Drywall 120 X 250 cm | piece | 370 |  |  |
| 2 | Metal profile 40 x 40 x 600 cm | piece | 470 |  |  |
| 3 | Stone wool insulation material | m2 | 1000 |  |  |
| 4 | Plaster | kg | 5000 |  |  |
| 5 | Silicone wall paint | kg | 300 |  |  |
| 6 | Labor for drywall wall construction | m2 | 1000 |  |  |
| 7 | Labor for metal profile | m2 | 500 |  |  |
| 8 | Labor for paint | m2 | 700 |  |  |
| Doors and Cabinets |  |  |  |  |  |
| 1 | Delivery of Wooden Door Leaf 43 mm, 42 mm Flat Frame, Mdf Flat Molding 18mm P02, 80mm, 900*2100*120mm | piece | 3 |  |  |
| 2 | Delivery of Wooden Door Leaf 43 mm, 42 mm Flat Frame, Mdf Flat Molding 18mm P02, 80mm, 900*2100*120mm | piece | 1 |  |  |
| 3 | Delivery of Wo+B25:B34oden Door Leaf 43 mm, 42 mm Flat Frame, Mdf Flat Molding 18mm P02, 80mm, 1200*2100*120mm | piece | 1 |  |  |
| 4 | Tempered Office Glass Door | piece | 2 |  |  |
| 5 | Aluminium Framed Glass Door | piece | 2 |  |  |
| 6 | Photocell Door with Aluminium Glass | piece | 1 |  |  |
| 7 | Aluminium 4+4 double glass with double glazing feature | piece | 1 |  |  |
| 8 | Rectangular WC Mirror with Hidden LED Strip Detail (50 X 120 cm) | piece | 2 |  |  |
| 9 | Two door WC cabinet, Cabinet Body MDF Lam, Cabinet Frame 3.6 cm Thickness, Doors Rectangular Handle Detail (50 X 75 X 70H cm) | piece | 1 |  |  |
| 10 | Kitchen Upper and Lower Cabinets, Kitchen Countertop, Stainless Steel Sink (Lower Cabinets: 60 X 290 X 85 H cm Upper cabinets: 35 X 290 X 60 H cm, Countertop: 60 X 290 cm, Counter Back: 60 X 290 cm) | piece | 1 |  |  |
| 11 | MDF Wall Panel | m² | 8 |  |  |
| Steel Structure and Roof Floor |  |  |  |  |  |
| 1 | Composite Sandwich Panel, Steel Metal Frame | m² | 500 |  |  |
| Sanitary Ware |  |  |  |  |  |
| 1 | Special Needs Sink 60x55 cm | piece | 1 |  |  |
| 2 | Special Needs Toilet 75 cm | piece | 1 |  |  |
| 3 | Foldable Grab Bar, Stainless Steel, Chrome | piece | 2 |  |  |
| 4 | Sink Tap | piece | 1 |  |  |
| 5 | Wall-Hung Toilet, Touchless Faucet and Toilet Seat, 54 cm | piece | 2 |  |  |
| 6 | Chrome Sink Tap | piece | 1 |  |  |
| 7 | Rectangular sink, 50x44 cm | piece | 1 |  |  |
| 8 | Kitchen sink tap | piece | 1 |  |  |
| 9 | Toilet paper holder | piece | 2 |  |  |
| 10 | 12cm Built-in reservoir | piece | 1 |  |  |
| 11 | Lidded trash can | piece | 2 |  |  |
| Lighting ana Electricity |  |  |  |  |  |
| 1 | Moving Rail System 300CM 220-240 V / 50-60 Hz | piece | 10 |  |  |
| 2 | Rail Spot Luminare, 40 watt , Aluminium | piece | 100 |  |  |
| 3 | 18W Surface mounted LED spotlight | piece | 132 |  |  |
| 4 | 18w spotlight with motion sensor, 230 V | piece | 3 |  |  |
| 5 | White Switch 10AX 250V Screw Connection | piece | 4 |  |  |
| 6 | White Flush Mounted Commutator Double Framed Switch | piece | 4 |  |  |
| 7 | White Flush Mounted Framed Grounded Socket | piece | 52 |  |  |
| 8 | 70 socket installations, 4 four-way switch installations, 2 commutator switch installations, 6 switch installations, existing 18w spot and 60x60 panel installations, 10 switched active (working camera installation, cable pulling suitable for air conditioners, 6 quad UPS systems, panel fuse boxes suitable for the installation to be installed, approximately 500 meters of 3+2.5 halogen fire (fireproof cable), approximately 300 meters of 3+1.5 halogen fire (fireproof cable), approximately 400 meters of 3+1.5 cat6 halogen fire (fireproof cable), 10 ip cameras, 1 4 terabyte hd, 1 recording device, 1 monitor, 1 6 quad UPS, 1 60x70 sheet metal panel, 40 25a fuses, 5 leakage current, 30 pieces of 16a fuse, 5 pieces of cotton, 1 piece of 150a compact | piece | 1 |  |  |
| Meeting Room + Exhibition Area + Sound System |  |  |  |  |  |
| 1 | 2- way Active speaker - 5" + 1" - 80Wrms+40Wrms | piece | 2 |  |  |
| 2 | U bracket horizontal wall mount J 5 | piece | 2 |  |  |
| 3 | 10m 4K HDMI Cable | piece | 1 |  |  |
| 4 | Cable Connector Set | piece | 1 |  |  |
| 5 | Audio Mixer with 2 XLR Mic Ins, USB Audio Interface and Bluetooth for Podcasting, Live Performance, Recording, DJ, PC and Mac | piece | 1 |  |  |
| 6 | Two-way bass reflex loudsp cab in ABS, NOM/ MAX power 30W/60W, with 100V line transf with power taps: 10/15/20/30W/ 8Ohm. | piece | 8 |  |  |
| 7 | Public Address Amplifier 240W 100V | piece | 1 |  |  |
| 8 | Single Handheld Wireless System with Microphone | piece | 1 |  |  |
| 9 | Single Headset Wireless System with Headset Microphone | piece | 1 |  |  |
| 10 | Single Handheld Wireless System with Microphone | piece | 1 |  |  |
| 11 | Public Address Amplifier 120W 100V, | piece | 1 |  |  |
| 12 | IP 55 2-way Full Range Speaker 5"cone + 1"dome - conical 90° horn - 120Wrms - 100V line transf. | piece | 4 |  |  |
| 13 | 2x0,22mm Black Microphone Cable 1 Roll 100 Mt. | piece | 2 |  |  |
| 14 | Service, Sound Installation Commissioning Engineering Services and Training | piece | 1 |  |  |
| Air Conditioning System |  |  |  |  |  |
| 1 | 1 pcs circular shot cassette type 2,8 kW cooling capacity indoor; unit + panel, 1 pcs circular shot cassette type 3,6 kW cooling capacity indoor unit + panel, 4 pcs circular shot cassette type 7,1 kW cooling capacity indoor unit + panel, 3 pcs circular shot cassette type 9,0 kW cooling capacity indoor; unit + panel, 1 pcs circular shot cassette type 11,2 kW cooling capacity indoor unit + panel, 1 pcs outdoor unit 10 +16 hp or 73 kW cooling capacity, 10 pcs indoor and outdoor unit coins | piece | 1 |  |  |
|  |  |  |  | TOTAL |  |
|  |  |  |  | VAT |  |
|  |  |  |  | TOTAL (VAT included ) |  |